- Arduino Nano V3.0 AVR ATMEGA328P

- Nano Terminal Adapter Arduino Nano V3.0 AVR ATMEGA328P

- B10K OHM Linear Taper Rotary Potentiometer 15mm Shaft With Dial   x3

- 1x Red LED 2V and 1x Green LED 2V  8mm Panel hole

- 2 x 220 resistors

- 1 x SPDT Miniature Toggle Switch - Solder Tag

- 3 x  Pushbutton PUSH-ON MOMENTARY SPST RED ACTUATOR  6mm  dia

- Nema23 Stepper Motor – minimum =>2.45N.m

- TB6600 Driver Single Axis 4A Controller 9~42VDC for Stepper Motor NEMA23

- 4 Line LCD with I2C backpack

  - LCD2004 LCD display with I2C module for Arduino

- SPDT 125V 3A Sub-Miniature Micro Switch with Lever

- Compatible DC Voltage Regulator

•    Input voltage 4.5-35V
•    Output voltage 3-34V
•    Maximum output current 2.5A

DC - DC buck converter module Voltage Step Down Converter Module

- 65mm PVC plumbing DWV Straight Coupling

- Grunt 2mm   White High quality braided polyester cord (non-stretch)

  - Measure 14 inches tie off at 12 or 13

- 2 medium sized zip ties

- Lots of different colour wires for joining components

- M5 x 35mm 316 Stainless Steel Screw Round Head Bolt And Nut - 4 Pack

- M5 x 80mm Screw Round Head Bolt

- M5 Stainless Steel Nylon Lock Nut x1

- Zenith 1/4" And M6 Nylon Washers x6

- 2mm x 20mm nut and bolt x 2